Honey

Defiition and Standards by Korea Food & Drug Administration

1) Definition

Honey refers to a product collected from honeycomb in which honeybees collect honey; especially, it designates pure honey without any addition of pollen, royal jelly, sugars, sweeteners and so on.

2) Requirements of Raw Material

3) Manufacturing and Processing Standards

4) Food Type

5) Specifications

(1) Water (%) : Not more than 20.0

(2) Water insoluble solids (%)∶ Not more than 0.5

(3) Acid Value (meq/kg) : Not more than 40.0

(4) Invert Sugar (%) : Higher than 60.0

(5) Saccharose (%) : Not more than 7.0

(6) Hydroxymethylfurfural (mg/kg) : Not more than 80.0

(7) Tar color : Should not be detected.

(8) Artificial Sweetener : Should not be detected

(9) Isomerized Sugar : Negative

6) Test Method

(1) Water

In case honey does not contain any crystal, stir it well; otherwise, put it into an airtight container, heat it up at 60 ~ 65℃ for half an hour to melt it down completely, rapidly cool it down and take the well-stirred one as the sample. (It is not allowed that a sample is heated up in hydroxymethylfurfural test). In the below relating to honey, a sample refers to the above formula.

Measure the refraction index of a sample around 20℃ and calculate the water amount according to the following water conversion table.

Temperature compensation : above 20°……add 0.00023 per 1°.

: below 20°……subtract 0.00023 per 1°.

Water Conversion Table

| RI(20°) | water(%) | RI(20°) | water(%) | RI(20°) | water(%) |
| --- | --- | --- | --- | --- | --- |
| 1.5044 | 13.0 | 1.4935 | 17.2 | 1.4830 | 21.4 |
| 1.5038 | 13.2 | 1.4930 | 17.4 | 1.4825 | 21.6 |
| 1.5033 | 13.4 | 1.4925 | 17.6 | 1.4820 | 21.8 |
| 1.5028 | 13.6 | 1.4920 | 17.8 | 1.4815 | 22.0 |
| 1.5023 | 13.8 | 1.4915 | 18.0 | 1.4810 | 22.2 |
| 1.5018 | 14.0 | 1.4910 | 18.2 | 1.4805 | 22.4 |
| 1.5012 | 14.2 | 1.4905 | 18.4 | 1.4800 | 22.6 |
| 1.5007 | 14.4 | 1.4900 | 18.6 | 1.4795 | 22.8 |
| 1.5002 | 14.6 | 1.4895 | 18.8 | 1.4790 | 23.0 |
| 1.4997 | 14.8 | 1.4890 | 19.0 | 1.4785 | 23.2 |
| 1.4992 | 15.0 | 1.4885 | 19.2 | 1.4780 | 23.4 |
| 1.4987 | 15.2 | 1.4880 | 19.4 | 1.4775 | 23.6 |
| 1.4982 | 15.4 | 1.4875 | 19.6 | 1.4770 | 23.8 |
| 1.4976 | 15.6 | 1.4870 | 19.8 | 1.4765 | 24.0 |
| 1.4971 | 15.8 | 1.4865 | 20.0 | 1.4760 | 24.2 |
| 1.4966 | 16.0 | 1.4860 | 20.2 | 1.4755 | 24.4 |
| 1.4961 | 16.2 | 1.4855 | 20.4 | 1.4750 | 24.6 |
| 1.4956 | 16.4 | 1.4850 | 20.6 | 1.4745 | 24.8 |
| 1.4951 | 16.6 | 1.4845 | 20.8 | 1.4740 | 25.0 |
| 1.4946 | 16.8 | 1.4840 | 21.0 |  |  |
| 1.4940 | 17.0 | 1.4835 | 21.2 |  |  |

(2) Water insoluble solids

Take 3 g of sample accurately, dissolve it in 200 mL of water (80℃), filter it with a glass filter (15~40 ㎛) previously dried at 135℃ to constant mass, and wash the filter with water (80℃) until any sugar is detected. Transfer the washed water into a test tube and add phloroglucinol solution. Drip a small amount of concentrated sulfuric acid to the wall side of the test tube. If the contact surface becomes discolored, wash it completely until no discoloration occurs. Then, dry the glass filter completely washed at 135℃ for 1 hour and cool it down in a desiccator before weighing. The amount of water insoluble solids is calculated according to the following formula.

W2 - W1

Water insoluble solids(%) ＝ ────── ×100

W0

W0 = sample (g)

W1 = weight of glass filter dried to constant mass (g)

W2 = weight of dried glass filter and water insoluble solids after filtration (g)

[Test solution]

Phloroglucinol solution: Dissolve 1 g of phloroglucinol in 100 mL of ethanol.

(3) Acidity

Weigh a 10.0 g sample, melt it with 75 mL water and titrate it with 0.1 N sodium hydroxide  as taking phenolphthalein for the indicator until it turns light red and maintains for 10 seconds.

A× f× 100

Acidity (meq/kg)＝------------------

S

a : amount of the 0.1 N sodium hydroxide solution consumed for titration (mL)

f : factor of 0.1 N sodium hydroxide solution

s : sample (g)

(4) Invert sugar and saccharose

① Lane-Eynone Method

A. Invert sugar

Weigh a 26 g sample, melt it in water, transfer it to a 250 mL volumetric flask, add 5 mL alumina cream reagent, fill water up to the indication line and filter it. After then, take the 10 mL remaining solution and dilute it to 250 mL to prepare a test solution. Take Fehling reagent A and B, each 5 mL and 10 mL water to two 200 mL Erlenmeyer flasks respectively. At the moment, add 15 mL sample to it and boil it on asbestos centered iron gauze within two minutes, reduce the thermal power slightly and add 4 drops of 1% methylene blue reagent if the color of copper sulfate fades away and increase it while boiling the solution for a while until the blue color of methylene blue reagent disappears.

Add it by each drop around the end point of titration and be cautious of excessive insertion. The titration should be ended within 3 minutes after it starts boiling. Knowing the estimated titration amount, execute the preliminary test and meet the amount of test solution to 1 ~ 2 mL that is added at the end of the titration.

According to the table of Lane-Eynone invert sugar amount, obtain the amount(A) of invert sugar contained in a 100 mL sample from the total titration amount and calculate the content according to the following formula.

250   250    100         1

Invert sugar(%) ＝ A × f × ----- × -----× --------× ---------

100     10       S        1,000

f: factor of Fehling reagent A

S: sample (g)

B. Sucrose

Weigh a 26 g sample accurately, melt it with a small quantity of water, move it to a 100 mL volumetric flask and add 1 mL alumina cream reagent to it. Fill water to the indication line and filter it. Add 25 mL water and 10 mL 20% hydrochloric acid to the 50 mL, transform it to invert sugar at 67℃, neutralize it with sodium carbonate and add some water, preparing the 100 mL. Dilute the 10 mL solution in a volumetric flask to the 250 mL, taking it as the test solution. It is tested according to the above A to get the amount of invert sugar. Invert Sugar to get the amount of invert sugar and finally calculate the amount of Sucrose by subtracting the amount of invert sugar in the above from this amount.

② Liquid Chromatography

A. Reagent

Ⓐ Mobile phase: acetonitrile: water(75:25)

Ⓑ Standard Sugar Solution: weight 1 g glucose, 1 g fructose and 0.1 g Sucrose and put them in a 100 mL volumetric flask and fill water to the indication line.

B. Devices

Ⓐ Detector : Refractive Index (Rl)

Ⓑ Column : Carbohydrate

Ⓒ Solvent filter : solvent clarification kit or similar one

C. Preparation of Test Solution

Weigh 1 g sample accurately and melt it with 25 mL water in a 100 mL volumetric flask, fill acetonitrile to the indication line, filter it with 0.45 μm filter paper and take it as the test solution.

D. Test Operation

(Example of Measurement Conditions of Liquid Chromatography)

o Flow rate : 1.0~1.5 mL/min

o Injection of test solution : 10~20 μL

o Attenuation : 8×

As in the above conditions, inject each 10~20 μL test solution and standard sugar solution, to Liquid Chromatography and calculate the amount of invert sugar(glucose + fructose) and sucrose in a sample according to the height or area of peak.

pH       V        W1

Sugar(%)＝ ------ × ------ × ------ × 100

pH'       V1       W

pH, pH': Height or area of a test solution and standard solution

V, V1: Total amounts of test solution and standard solution (mL)

W, W1: Collected amounts of a sample an standard sugar (g)

(5) Hydroxymethylfurfural

① Spectrophotometry

A. Preparation of a test solution

Weigh a 5 g sample accurately, melt it with 25 mL water and move it to a 50 mL volumetric flask. Put 0.5 mL 15% potassium ferrocyanide to it, add 0.5 mL 30% zinc acetate solution to it, mix them well, fill some water up to the indication line(add a drop of alcohol once it foams), filter it, throw out the first 10 mL and take the remaining solution as the test solution.

B. Test Operation

Put each 5 mL test solution into two test tubes, add 5 mL water and 5 mL 0.2% sodium hydrogen sulfite solution for a blank test tube, respectively, mix two tubes and measure the absorbance of both tubes at 284 nm and 336 nm as taking water and 0.1% sodium hydrogen sulfite for the control solutions respectively.

C. Calculation

(A284 - A336) × 149.7× 5

Hydroxymethylfurfural (mg/kg)＝-----------------------------

S

A284 ad A336: absorbance of each wavelength (substract blank test sol. from test sol.)

S: sample (g)

① Quantitative test by Liquid Chromatography

A. Preparation of standard solution

Prepare HMF(hydroxymethylfurfural) 1 mg/100 mL(10 ppm) solution and dilute it into 10, 5, 2.5, 1 and 0.5 ppm solutions(corresponding to x10 amount of the content in honey).

B. Preparation of test solution

Weigh the 5 g honey, melt it with 50 mL water in a volumetric flask, filter it with 0.45 μm filter paper and take it as the test solution.

C. Test Operation

o Detector : UV detector

o Column : C18 column or the similar one

o Insertion : 20 μL

o Mobile phase : Water: Methanol ＝ 90：10

o Flow rate : 1.0~1.5 mL/min

o Wavelength : 280 nm

D. Calculation

Area of test solution          volume of test solution

HMF(mg/kg) ＝ concentration of ×  --------------------------------- × ---------------------------------

standard solution     Area of standard solution       weight of a sample

(6) Tar color

It is tested according to 2.4. Coloring Agents described in Article 10. General Testing Methods.

(7) Artificial Sweetener

It is tested according to 2.2. Artificial Sweetener described in Article 10. General Testing Method.

(8) Isomerized sugar

① Apparatus

Insert 2 g celite(No. 545) to the column of which outer dia. is 22 mm and length is 370 mm and put 12 g absorbent(activated carbon Darco-G 60 : Celite No. 545＝1:1) on it, disperse it with 150 mL water. Sediment the absorbent by using an absorption device, put 2 g celite on it, flow 250 mL water to wash it and flow it out until a little of water remains on the supernatant.

② Preparation of test solution

Melt 1 g sample into 10 mL water, put it in a column by using an absorption device, wash it with 300 mL 7% ethanol and flow it out with 100 mL 50% ethanol. Move the discharged solution to a beaker, flow it out with air or nitrogen in a evaporation bath or concentrate it with the similar way. Wash the residues with 1 mL water, move it to a test tube (13 x 100 mm), concentrate it by flowing it out with air or nitrogen while being soaking in a water bath of 60℃, melt the residues with 0.1~0.2 mL water and take it as the test solution.

③ Determination (Thin Layer Chromatography)

As the mixed honey of pure honey, Isomerized sugar and test solution on a straight line away from 2 cm of bottom of silica gel G thin layer, take the 2~6 μL solution that is prepared in the similar way and develop it in a developing solvent. Dry it out after the development, spray out the chromogen, volatilize the solvent, put it in a dryer of 90~95℃ for 15 minutes and colored.

Pure honey shows 1 ~ 2 large spots at 0.35 or more Rf  but mixed honey with isomerized sugar or molasses shows a spot from above the starting point. If a sample shows a spot within 0.35 Rf  from the starting point, it is determined to be positive.

<Migration solvent>

n-butanol: acetate: water (2 : 1 : 1)

<Chromogen>

Dissolve 1 mL aniline(redistilled with zinc dust before use) and 1 g dipheylamine hydrochloride with 50 mL acetone and add 5 mL 85% phosphoric acid to it. Keep it at 0℃ or prepare it just before use.